## Slide 1: Emergency Management Plan Executive Briefing 2018
June 6, 2018

## Slide 2: Overview
UTHealth EMP congruency with National Incident Management System (NIMS)
Brief description of major EMP elements
Two Examples (based on risk assessment)
  Bomb threat
  Inclement weather (Hurricane/Flooding)
Business Continuity Plan

## Slide 3: National Incident Management System (NIMS)
NIMS – Federally required comprehensive national approach, applicable at all jurisdictional levels and across functional disciplines for responding to emergencies
NIMS training required for emergency responders and emergency management team (you)
NIMS required training is online
  Courses: IS 700.a, 100.HE, 200.b, 800.b
http://training.fema.gov/IS/NIMS.asp

## Slide 4: Emergency Management Scope
Prevention
Preparedness
Response
Recovery

## Slide 5: Prevention
Routine surveillance
  Lab, facility, and environmental safety surveys
System testing
  Fire alarm and suppression systems, emergency generators, flood doors
Safety training
  Lab safety training, Area Safety Liaisons, Facilities and Auxiliary Enterprises maintenance staff

## Slide 6: Preparedness
Communication
  Updated contact information
Institutional Awareness and Education
  Emergency preparedness fliers
  UTHealth website
  Home preparedness kits
Drills
  Fire drills
  Flood door drill (May 5, 2018)
  Hazardous material spill drills
  Tabletop exercises

## Slide 7: Key Units Involved with EMP
Environmental Health & Safety
  EMP development, testing, emergency response for health and safety, training
Facilities, Planning & Engineering and Auxiliary Enterprises
  Monitoring advisories, protecting property
UT Police
  Monitoring advisories, initial emergency notifications, crowd and access controls
Public Affairs
  Institutional and external communications
Information Technology
  Computer systems

## Slide 8: Emergency Management Plan Elements
Types of emergencies
  Inclement weather
  Fire
  Hazardous material releases / theft
  Facility failure
  Bomb, cyber/terroristic threats of violence
  Armed intruder
  Auto accidents
  Medical emergencies
Classified into “levels” for actions and notifications
  Level 1 (area)
  Level 2 (floor)
  Level 3 (building)

## Slide 9
Emergency Notification
Dr. Robert Emery
VP Environmental Health Safety and Risk Management
Notify School Deans and Executive Council as appropriate
Update voice mail message at
713-500-9996 or 713-500-7999
Notify answering service for main switch board
OPA Communications
Updates information resources & informs the Executive Team as necessary
The decision to modify operations can be made by any of these individuals
Wes Stewart
VP of Facilities, Planning, & Engineering
Kevin Dillon
Sr Executive Vice President, Chief Operating and Financial Officer
Chief William Adcox
UTPD Chief of Police
FPE’s Work Control
Monitors Potential Emergency Situations & Informs VP FPE, and Answering Service
UTPD
Monitors Potential Emergency Situations & Alerts FPE’s Work Control
VP of FPE
Coordinates FPE Personnel & Updates the Executive Team
Dr. Michael Blackburn
Executive Vice President Research
Activate emergency advisories on Web home page
Notify/Update News Media
VP of AE
Coordinates AE Personnel & Updates the Executive Team
If after hours: Answering Service
Relays emergency event message
Environmental Health & Safety
Reports to the scene of an emergency, assist as required
CLAMC
Coordinates the needs of the University’s’ research animals
UT Physicians
Coordinates UTP Personnel & Updates the Executive Team
Dr. Giuseppe Colasurdo
President

## Slide 10: Emergency Communication Options
UTHealthALERT text messages for imminent threats
UTHealth intranet emergency banner
Targeted or mass email (note: inherent delay)
Web at www.uthealthemergency.org (offsite hosting backup)
Fire Alarm Control Panel voice announcement capability
Campus television monitors
Designated voicemail lines with informational messages (offsite toll free number backup)
Local television
Local radio
Facebook / Twitter

## Slide 11: UTHealthALERT
UTHealthALERT text messages for imminent threats such as an active shooter or tornado or anytime there is a change in status and other situations
Enables one person to communicate very quickly with thousands of people anywhere and at anytime
Track broadcasts
  When the message was sent
  Who the message was sent to
  Who confirmed receiving the message
  Who hasn’t confirmed receiving the message
  Who wasn’t able to be reached

## Slide 12: Why only send text messages?
System is faster using only one method
Too many methods/messages can overwhelm regional, local, or internal communication systems
Almost everyone owns a cell phone and people tend to keep it with them when they are in transit
OPA can send a mass email

## Slide 13: UTP Clinics
Each clinic has its own Emergency Management template/plan
Ambulatory loss prevention assessments
  Looks for any hazard that can shut clinic down for a period of time
  Patient, visitor hazards, injuries
  Employee hazards, injuries

## Slide 14: Controlled Access
UTHealth never “closes”
When initiated, controlled access engages essential personnel
Non-essential personnel may access facilities as deemed necessary by signing in and out at the building guard desk and being escorted while in the facility.

## Slide 15: Example 1 Bomb, Cyber or Terroristic Threats of Violence

## Slide 16: Typical Event
Threat called in, mailed in or submitted electronically (email, social media, etc.)
Key details of message should be noted, reported to UTPD
  NOTE: specific training for key administrative available from UTPD
If threat is non-specific, experts suggest not evacuating, but to conduct low key sweep of building for suspicious items
If threat is specific (time, location, etc.) experts suggest evacuation, and subsequent sweep
Ultimate decision to evacuate rests with Executive Team, not UTPD

## Slide 17: Example 2 Inclement Weather: Flooding or Hurricane

## Slide 18: TMC Flood Alert System http://fas4.flood-alert.org
Green – Flooding possibility minimal to none
Yellow – “Flood Caution”
Flooding conditions possible.
10-20% chance of flooding
Orange – “Flooding Possible”
Water level high in Brays Bayou with heavy rains expected in the western portion of the watershed. 40-50% chance of flooding if storms persist.
Red – “Flooding Probable”
Water levels very high in Brays Bayou with heavy rains expected to continue in western portion of the watershed. 80-90% chance of flooding. Controlled Access requested, Executive Decision necessary.
Critically important: this color coding system is NOT synchronized with TMC weather alerts that are sent by text, e-mail

## Slide 19
Critically important: this TMC weather color coding system is NOT synchronized with Flood Alert.org system our flood door plan is linked to

## Slide 20: Hurricane Preparation Sequence
96 hours before landfall: preparations begin
72 hours: Alert status – preparations ramp up
48 hours: Watch status – final preparations
24 hours: Warning status – Ride out team arrives. Controlled Access requested, Executive Decision necessary.
8 hours out: warning status – controlled access

## Slide 21: Business Continuity Plan
Designed to address business continuity issues up to 30 days post disaster in hopes of reducing the severity and duration of operational impacts
11 key units identified requiring detailed BCP plans
Template worksheets created for research, academic, clinical, and administrative departments
Rapid building damage assessment checklist developed

## Slide 22: Recovery
Existing UT System pre-established contracts
  Water, fire, smoke damage, etc. – BMS Catastrophe
  Hazardous materials spills – Eagle Environmental
  Hazardous waste disposal – Veolia, Stericycle
UTHealth Evergreen contracts & JOC
UT System mutual aid agreement
Property Insurance coverage
  Fire and all other perils
  Wind and named storms

## Slide 23
CPPP 2017-18 – FIRE & AOP STRUCTURE

## Slide 24
CPPP 2017-18 – NAMED WINDSTORM STRUCTURE

## Slide 25: Summary
EMP sets out framework for institutional emergency response and management
Key executive decisions are typically:
  Open or Controlled Access?
  Evacuate or shelter in place?
    Note that decisions can sometimes be impacted by local or state agency decisions
BCP facilitates institutional recovery
Focus on prevention and preparedness
Each emergency situation is different, but in every such event, cooperation and communications are key!