# Laboratory Wipe Test Report for Radioactive Materials for Authorized Users

Building: 	      Room Number:

Wipe Tested by:  		Date:

Radioisotopes used in this Laboratory:

Note: If Storage Only - Wipe test must at least be taken of storage area

If No Use or Storage - In comment section indicate “No Use or Storage This Month”

Authorized User: 		Authorization Number:

Counting Equipment …………………………….		Serial Number:

Type:  LSC or Other (specify)		Model:

Standard Isotope 	Efficiency (%) *	Channel 	Energy Range (keV)

Example: H-3		30 %		A		 0 - 20

Example: P-32		75 %		B		 0 - 1700

*Efficiency may be omitted if equipment automatically converts to dpm

Laboratory Diagram

Wipe Test Results

Background Count Rate (cpm):

Number	Count Rate (dpm)

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

Rewipe of # ___

Rewipe of # ___

Comments: